BITZER Monitoring Categorization

1. Immediate Action Required

(Indicates outages, service stops, or critical thresholds reached)

- Any “Computer Down” event (e.g., CITRIX Machines: Computer Down SDN_TS SGD, SAP-PP Machines: Computer Down, OI-SQL Machines: Computer Down, etc.) When email subject says “Machine shutdown gracefully”, then the shutdown was planned or manually done by an admin. If so, no immediate action is necessary.

- Any “Service Down/Stopped” (e.g., OI-RDA - WIS-Service Stopped, CITRIX PVS Services down, SAP-SW Service Jira Tomcat Down)

- Critical resource exhaustion:

  - CPU utilization ≥ 95%

  - Memory utilization ≥ 95%

  - Disk queue length ≥ 1 (or ≥ 21 for backup servers)

  - vCPU/pCPU ratio ≥ 3 (vCenter)

  - Storage latency ≥ 100 ms (vCenter)

- Network / Load Balancer degraded:

  - ADC Storefront LB degraded

  - ADC Exchange LB RPC/Active Sync/OWA degraded

  - ADC WEM Services LB degraded

- Citrix critical errors:

  - FSLogix Profile corrupted

  - FSLogix Error

  - Broker cannot find any available VM

  - WinLogon Error

  - XenDesktop Error Events

2. Action Required but Not Urgent

(Performance issues, capacity thresholds, or non-critical degradations)

- Low disk space warnings:

  - Less than 5 GB or 15 GB free

  - Less than 10% free capacity

  - Linux Disk less 20% free

  - VDA: D:\ Drive Free Space ≤ 2 GB

- Warnings on system health:

  - Hypervisor Memory Ballooning ≥ 10 MB

  - OI-IBS Exchange Memory/CPU Monitor

  - Application Servers Less 5GB AND less 10 Percent

- Services up/restored (confirmation events):

  - ADC Exchange LB RPC restored

  - ADC Exchange LB Active Sync restored

  - ADC Storefront LB restored

  - ADC Exchange LB OWA restored

  - ADC WEM Services LB restored

  - OI-ROT - Xframe Service Up

  - OI-RDA - WIS-Service Started

  - OI-RDA - ShopfloorEngine-PR3-Service Started

  - CITRIX License Service up

  - CITRIX WEM Service up

  - CITRIX Monitor Delivery Controller Service Up

3. Informational Only

(Logging, status checks, or monitoring without immediate risk)

- Windows Event matching a custom filter

- Service Trigger Scoutbees-Services

- Service Trigger GLT-Services

- ADC Certificate expiration warning

- Citrix Storefront Test

- Citrix XenApp Restore

- VMware Horizon Connection Server Health Monitoring

- VMware Horizon Connection Server Events

- VMware Horizon Connection Server Process Monitoring

- Linux Xterm Process Ended

- SAP-BASIS Proc ended BELLIN Client Transport.exe

- BITZER – Machine Down matching a custom filter (depends on filter logic, but typically informational until confirmed)

- ADC NetScaler Schwenk

- OI-IBS Exchange DB Schwenk (and V02)

- OI-IBS-OWI Printserver Event ID 4009

- OI-IBS Exchange Fehler Zustellung Event IDs 15004/15006 V03

This way, monitoring teams can prioritize:

- Category 1: Critical outages or bottlenecks – immediate reaction.

- Category 2: Preventive capacity or health issues – needs fixing soon.

- Category 3: Log/information – keep for audits, not urgent.